# PUBLIC CODE CHANGE PROPOSAL FORM

# FOR PUBLIC PROPOSALS TO THE INTERNATIONAL CODES

2012-2014 CODE DEVELOPMENT CYCLE

CLOSING DATES:  		Group A Codes: January 3, 2012

Group B Codes: January 3, 2013

Group C Codes: January 6, 2014

*See Item 3 of these instructions for additional information concerning Group A and Group B Code

Development Committees Responsibilities*

1)

| Name: Maureen Traxler |  |  | Date: December 26, 2012 |  |
| --- | --- | --- | --- | --- |
| # Jurisdiction/Company: City of Seattle |  |  |  |  |
| # Submitted on Behalf of: Washington Ass’n of Building Officials Technical Code Development Committee |  |  |  |  |
| # Address: PO 34019, 700 5th Ave |  |  |  |  |
| # City: Seattle |  | # State: WA |  | # Zip Code: 98124 |
| Phone: 206-233-3892 | Ext. | Fax: |  |  |
| E-mail address (see # 4 below): maureen.traxler@seattle.gov |  |  |  |  |

2)	Copyright Release:  In accordance with Council Policy #28 Code Development, all Code Change Proposals, Floor Modifications and Public Comments are required to include a copyright release. A copy of the copyright release form is included at the end of this form. Please follow the directions on the form. This form as well as an alternative release form can also be downloaded from the ICC website at www.iccsafe.org. If you have previously executed the copyright release for this cycle, please check the below:

___X___2012-2014 Cycle copyright release on file

3)	Code: Indicate appropriate International Code(s) associated with this Public Proposal – Please use Acronym:  IEBC

If you have also submitted a separate coordination change to another I-Code, please indicate the code: ________

(See section below for list of names and acronyms for the International Codes).

NOTE: Sections of the International Codes that have a letter designation in brackets in front of them are the responsibility of a different committee than the committee normally responsible for that code.  For instance, Section 301.1.4 of the IEBC has a [B] in front of it, meaning that this section is the responsibility of one of the IBC Code Development Committees (in this case, IBC-S). Any proposed changes to Section 301.1.4 will be heard by the IBC-Structural committee.

Therefore, some code change proposals to Group B code text may be due by January 3, 2012, in order to be heard by Group A code development committees, and vice versa (proposed revision to a Group A code due January 3, 2013.) Please go to www.iccsafe.org/responsibilites for detailed information on Group A and Group B Code Development Committee responsibilities.

4)	Multiple Proposals:  A proponent shall not submit multiple code change proposals to the same code section.  When a proponent submits multiple code change proposals to the same section, the proposals shall be considered as incomplete proposals and not processed in accordance with Section 4.3 of CP #28.  This restriction shall not apply to code change proposals that attempt to address differing subject matter within a code section.

5)	Referenced Standards:  Check here if this code change proposal includes reference to a standard that is not currently referenced in one of the I-Codes. _____

NOTE:  If a new referenced standard is proposed, a copy of the standard must be provided by the proponent of the code change proposal.  (This code change proposal will be considered incomplete and not processed if the new standard is not submitted in at least consensus draft form in accordance with Section 3.6 of Council Policy CP #28.)  If you have forwarded a copy of the standard(s) to ICC please check below:

______ Copy of new referenced standard(s) sent. (Please check:   Electronic ___ or Hard Copy ___)

6)	E-mail address:  Your email address will be published with your code change proposal unless you check here: ______

7)	Information required: Be sure to format your proposal and include all information as indicated below and in the Code Change Proposal

Instructions’ section on Page 2 of this form.

8)	Format: Proposals should be sent to the office below via regular mail or email.  An e-mail submittal is preferred, including an electronic version, in either WordPerfect or Word (see proposal formatting section on Page 2 of this form).

# CODE CHANGE PROPOSAL FORM

# Code: IEBC________ –12-14

Code Sections/Tables/Figures Proposed for Revision (3.3.2); Note:  If the proposal is for a new section, indicate (new).

IEBC 301.1

Proponent:  Name/Company/Representing (3.3.1): Maureen Traxler/City of Seattle/Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

301.1 General. The repair, alteration, change of occupancy, addition or relocation of all existing buildings shall comply with one of the methods listed in Sections 301.1.1 through 301.1.3 as selected by the applicant. Application of a method shall be the sole basis for assessing the compliance of work performed under a single permit unless otherwise approved by the code official. Sections 301.1.1 through 301.1.3 shall not be applied in combination with each other. Where this code requires consideration of the seismic force-resisting system of an existing building subject to repair,  alteration, change of occupancy, addition or relocation of existing buildings, the seismic evaluation and design shall be based on Section 301.1.4 regardless of which compliance method is used.

Reason:  This paragraph says the same thing 3 different ways in the first 3 sentences.  The first sentence states that the applicant has to choose one of the 3 compliance methods.  The second sentence again says that one of the three compliance methods must be used.  Then, the third sentence states that only one compliance method can be used.  There may be a slight different in emphasis in the three sentences, but all three aren’t necessary.  The second and third sentences both say that one and only method can be applied to a project.  We prefer the third sentence because it states most clearly that more than one method cannot be applied to a project.  If special circumstances arise, the code official has authority under Sections 104.10 and 104.11 to approve modifications and alternative methods of design.

Cost Impact: None

Public Hearing:	Committee:		AS			AM		D

Assembly:		ASF		AMF		DF