# Code: IRC –12/13

302.1

Proponent:  C. Ray Allshouse AIA, CBO, City of Shoreline, WA, representing the Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

R302.1 Exterior walls. Construction, projections, openings and penetrations of exterior walls of dwellings and accessory buildings shall comply with Table R302.1(1); or dwellings equipped throughout with an automatic sprinkler system installed in accordance with Section P2904 shall comply with Table R302.1(2).

| EXCEPTIONS: | 1. Walls, projections, openings or penetrations in walls perpendicular to the line used to determine the fire separation distance. |
| --- | --- |
|  | 2. Walls of dwellings and accessory structures located on the same lot. |
|  | 3. Detached tool sheds and storage sheds, playhouses and similar structures exempted from permits are not required to provide protection based on location on the lot. Projections beyond the exterior wall shall not extend over the lot line. |
|  | 4. Detached garages accessory to a dwelling located within 2 feet (610 mm) of a lot line are permitted to have roof eave projections not exceeding 4 inches (102 mm). |
|  | 5. Foundation vents installed in compliance with this code are permitted. |

TABLE R302.1(1)

EXTERIOR WALLS

| Exterior Wall Element |  | Minimum Fire-Resistance Rating | Minimum Fire Separation Distance |
| --- | --- | --- | --- |
| Walls | (Fire-resistance rated) | 1-hour tested in accordance with ASTM E 119 or UL 263 with exposure from both sides | < 5 feet |
|  | (Not fire-resistance rated) | 0 hours | > 5 feet |
| Projections | (Fire-resistance rated) | 1 hour on the undersidea, b | > 2 feet to 5 feet |
|  | (Not fire-resistance rated) | 0 hours | 5 feet |
| Openings in walls | Not allowed | N/A | < 3 feet |
|  | 25% maximum of wall area | 0 hours | 3 feet |
|  | Unlimited | 0 hours | 5 feet |
| Penetrations | All | Comply with Section R302.4 | < 5 feet |
|  |  | None required | 5 feet |

|  | For SI: 1 foot = 304.8 mm. N/A = Not Applicable |
| --- | --- |
|  | a. Roof eave fire-resistance rating shall be permitted to be reduced to 0 hours on the underside of the eave if fire blocking is provided from the wall top plate to the underside of the roof sheathing. |
|  | b. Roof eave fire-resistance rating shall be permitted to be reduced to 0 hours on the underside of the eave provided no gable vent openings are installed. |

Table R302.1(2)

EXTERIOR WALLS – DWELLINGS WITH FIRE SPRINKLERS

| Exterior Wall Element |  | Minimum Fire-Resistance Rating | Minimum Fire Separation Distance |
| --- | --- | --- | --- |
| Walls | (Fire-resistance rated) | 1-hour tested in accordance with ASTM E 119 or UL 263 with exposure from both sides | 0 feet |
|  | (Not fire-resistance rated) | 0 hours | 3 feeta |
| Projections | (Fire-resistance rated) | 1 hour on the undersideb, c | 2 feeta |
|  | (Not fire-resistance rated) | 0 hours | 3 feet |
| Openings in walls | Not allowed | N/A | < 3 feet |
|  | Unlimited | 0 hours | 3 feeta |
| Penetrations | All | Comply with Section R302.4 | < 3 feet |
|  |  | None required | 3 feeta |

|  | For SI: 1 foot = 304.8 mm. N/A = Not Applicable |
| --- | --- |
|  | aFor residential subdivisions where all dwellings are equipped throughout with an automatic sprinkler system installed in accordance with P2904, the fire separation distance for nonrated exterior walls and rated projections shall be permitted to be reduced to 0 feet, and unlimited unprotected openings and penetrations shall be permitted, where the adjoining lot provides an open setback yard that is 6 feet or more in width on the opposite side of the property line. |
|  | bRoof eave fire-resistance rating shall be permitted to be reduced to 0 hours on the underside of the eave if fire blocking is provided from the wall top plate to the underside of the roof sheathing. |
|  | cRoof eave fire-resistance rating shall be permitted to be reduced to 0 hours on the underside of the eave provided no gable vent openings are installed. |

Reason:  This change is primarily intended to address construction problems associated with having to simultaneously provide fire-resistive eave projections and adequate roof ventilation vents.  In addition, current code language is silent on a potential problem of fire-spread to unprotected attics from exterior sources through roof vents where residential structures are built tight to fire separation requirements.  Roof ventilation, typically handled by the installation of “bird block” vents under roof eave projections, unfortunately serve as a path for fire spread from adjacent structures.  This problem is further aggravated by the fact that NFPA 13D Fire Sprinkler Systems do not require sprinklers in attic spaces.  The proposed change provides a builder’s option to mitigate this situation by providing for the installation of a top-side roof vent in lieu of fire-resistance treatment of the eave projection.  The resulting solid wood fire-block in place of the otherwise required eave vents protects the attic from fire intrusion.  Under this scenario, the unprotected eave is viewed to be expendable and therefore need not be fire rated.

Cost Impact:  The code change proposal will not increase the cost of construction.

# Code: IRC________ –12-14

Code Sections/Tables/Figures Proposed for Revision (3.3.2); Note:  If the proposal is for a new section, indicate (new).  Table R302.1(1)

Proponent:  Name/Company/Representing (3.3.1): (NOTE:  DO NOT USE ACRONYMS FOR YOUR COMPANY OR ORGANIZATIONAL NAME) Maureen Traxler, Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

TABLE R302.1(1)

EXTERIOR WALLS

| EXTERIOR WALL ELEMENT |  | MINIMUM FIRE-RESISTANCE RATING | MINIMUM FIRE SEPARATION DISTANCE |
| --- | --- | --- | --- |
| Walls | Fire-resistance rated | 1 hour—tested in accordance with ASTM E 119 or UL 263 with exposure from both sides | < 5 feet |
|  | Not fire-resistance rated | 0 hours | ≥ 5 feet |
| Projections | Fire-resistance rated | 1 hour on the underside | ≥ 2 feet to < 5 feet |
|  | Not fire-resistance rated | 0 hours | ≥ 5 feet |
| Openings in walls | Not allowed | N/A | < 3 feet |
|  | 25% maximum of wall area per story | 0 hours | 3 feet |
|  | Unlimited | 0 hours | 5 feet |
| Penetrations | All | Comply with Section R302.4 | < 5 feet |
|  |  | None required | 5 feet |

For SI: 1 foot = 304.8 mm.

N/A = Not Applicable.

Reason:

The IRC is ambiguous about how to calculate the percentage of openings allowed in exterior walls.  The limitation could be calculated either as a percentage of the area of the entire exterior wall, or as a percentage of each story.  This proposal requires that openings in exterior walls be calculated for each story.  This method is consistent with IBC Section 705.8.1.  Consider this example of the potential consequence of not using the proposed interpretation.  If the area of openings was allowed to be calculated based on the entire face of the wall, on a 3-story building the first story of a building 3 feet from a property line could have 75% openings if there were no openings in the other 2 stories.

# Code: IRC –12/13

302.2.1

Proponent:  C. Ray Allshouse AIA, CBO, City of Shoreline, WA, representing the Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

R302.2.1 Continuity.

The fire-resistance-rated wall or assembly separating townhouses shall be continuous from the foundation to the underside of the roof sheathing, deck or slab. The fire-resistance rating shall extend the full length of the wall or assembly, including wall extensions through and separating attached enclosed accessory structures.

Where a story extends beyond the exterior wall of a story below, one of the following shall apply:

1. The fire-resistance-rated wall or assembly shall extend to the outside edge of the upper story; or

2. The underside of the exposed floor-ceiling assembly shall be protected as required for projections in Section R302.

Reason:  Current townhouse code language is vague regarding the continuity of fire-resistance-rated assemblies, specifically in those instances where an upper story extends beyond the face of the wall immediately below. This represents a potential breach in the integrity of the fire resistance rated construction deemed necessary to ensure full dwelling unit separation in townhouse configured construction.  This change clarifies the needed protection requirements. It is not uncommon for local zoning ordinances to include provisions specifically intended to break up continuous building facades as well as the large scale presentation of multifamily buildings.  Developers typically utilize offsets between units to achieve these building modulation requirements that frequently result in this configuration.  This proposed change provides language to cover this condition thereby helping ensure that the required dwelling separation is achieved.

Cost Impact:  The code change proposal will not increase the cost of construction.

# Code: ________ –12-14

Code Sections/Tables/Figures Proposed for Revision (3.3.2); Note:  If the proposal is for a new section, indicate (new).

R202, R301.2.2.3.1, R324

Proponent:  Name/Company/Representing (3.3.1): Maureen Traxler/City of Seattle/Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

MEZZANINE, LOFT.  An intermediate level or levels between the floor and ceiling of any story with an aggregate floor area of not more than one-third of the area of the room or space in which the level or levels are located.

R301.2.2.3.1 Height limitations. Wood-framed buildings shall be limited to three stories above grade plane or the limits given in Table R602.10.3(3). Cold-formed, steel-framed buildings shall be limited to less than or equal to three stories above grade plane in accordance with AISI S230. Mezzanines as defined in Section R202 that comply with Section R324 shall not be considered as stories. Structural insulated panel buildings shall be limited to two stories above grade plane.

Add new Section R324 as follows

SECTION R324

MEZZANINES

R324.1  General.  Mezzanines shall comply with Section R324.

R324.2 Mezzanines.  The clear height above and below mezzanine floor construction shall be not less than 7 feet (2134 mm).

R324.3 Area limitation.  The aggregate area of a mezzanine or mezzanines shall be not greater than one-third of the floor area of the room or space in which they are located. The enclosed portion of a room shall not be included in a determination of the floor area of the room in which the mezzanine is located.

R324.4 Means of egress. The means of egress for mezzanines shall comply with the applicable provisions of Section R311.

R324.5 Openness. Mezzanines shall be open and unobstructed to the room in which they are located except for walls not more than 42 inches (1067 mm) in height, columns and posts.

Exceptions:

1. Mezzanines or portions thereof are not required to be open to the room in which they are located, provided that the aggregate floor area of the enclosed space is not greater than 10 percent of the mezzanine area.

2. In buildings that are no more than two stories above grade plane and equipped throughout with an automatic sprinkler system in accordance with NFPA 13R, NFPA 13D or Appendix S, a mezzanine having two or more means of egress shall not be required to be open to the room in which the mezzanine is located.

Reason:

The IRC provisions for mezzanines are incomplete.  The code provides a definition of “mezzanine, loft” but doesn’t include any other provisions to clarify the allowable size or extent of mezzanines. This proposal copies relevant portions of IBC Section 505.2 into the IRC.

Mezzanines are allowed to be considered not to be stories because they are limited in size and because they are subject to provisions that provide protection from fire hazards.  Mezzanines are required to be open to the room in which they are located, which provides early warning to occupants should a fire occur in either the mezzanine or in the room.  The IBC provisions also include more specific provisions for determining the portion of the room that can be included in the allowable area of the mezzanine.

There is also reason to limit the size of mezzanines. Section R301.2.2.3.1 states that mezzanines are not considered stories in the context of height limitations for buildings in higher seismic design categories. Mezzanines that are large in relation to the size of the story will act more like a story in response to seismic forces and should be treated as stories.

In addition, we are proposing to delete the word “loft” from the definition of mezzanine.  The word is not used anywhere in the code, so it is not necessary to define it.

# Code: IRC –12/13

R401.5 (new)

Proponent:  Jonathan Siu / City of Seattle Department of Planning & Development / Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

Add new section R401.5 as follows:

R401.5 Protection of adjoining property.  Adjoining public and private property shall be protected from damage during construction, remodeling and demolition work. Protection shall be provided for footings, foundations, party walls, chimneys, skylights, roofs and other building elements. Provisions shall be made to control water runoff and erosion during construction or demolition activities.

Reason:

Currently, the IRC contains no provisions requiring adjacent property be protected from construction activities.  This proposal brings text from IBC Section 3307 (Protection of Adjoining Property) into the IRC, bringing the codes into closer alignment.  One difference between this proposal and the IBC text is the addition of “and other building elements” in the second sentence.  The WABO TCD Committee feels it is just as important to protect elements such as bay or garden windows with roof-like components from hazards as it is to protect roofs and skylights.

It is to be noted that there is a requirement in the IBC text to notify owners of adjoining buildings at least 10 days prior to the start of excavation.  The WABO TCD Committee considers this to be unenforceable language, and therefore has not included it in this proposal.  However, if the committee feels led to do so, the following text (verbatim from IBC Section 3307.1) can be added to the proposal as a committee modification, in order to get complete consistency between the codes:

“The person making or causing an excavation to be made shall provide written notice to the owners of adjoining buildings advising them that the excavation is to be made and that the adjoining buildings should be protected. Said notification shall be delivered not less than 10 days prior to the scheduled starting date of the excavation.”

Cost Impact: Potential increase in initial cost of construction since this is not currently specifically regulated in the code, but may reduce potential for lawsuits where precautions are not already being taken.

# Code: IRC –12/13

R401.5 (new), R403.1, Chapter 44

Proponent:  Name/Company/Representing (3.3.1): Jonathan Siu/City of Seattle Department of Planning & Development/ Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

Add new Section R401.5 as follows:

R401.5 Site work.  Site work shall be performed in accordance with Sections R401.5.1 through R401.5.4.

R401.5.1 Excavation and fill. Excavation and fill for buildings and structures shall be constructed or protected so as not to endanger life or property.   Excavation, fill, or shoring, whether temporary or permanent, shall not extend onto adjacent property.  Existing footings or foundations which can be affected by any excavation shall be underpinned adequately or otherwise protected against settlement and shall be protected against lateral movement.

R401.5.2 Slope limits. Slopes for permanent fill shall be not steeper than one unit vertical in two units horizontal (50-percent slope). Cut slopes for permanent excavations shall be not steeper than one unit vertical in two units horizontal (50-percent slope). Deviation from the foregoing limitations for cut slopes shall be permitted only upon the presentation of a geotechnical report acceptable to the building official.

R401.5.3 Surcharge. No fill or other surcharge loads shall be placed adjacent to any building or structure, or caused to be imposed on them, unless such building or structure is designed to withstanding the additional loads caused by the fill or surcharge.

R401.5.4 Soil supporting foundations.  Footings and foundations shall be supported on undisturbed natural soils or engineered fill.  Fill to be used to support the footings or foundations of any building or structure shall comply with the provisions of a geotechnical report acceptable to the building official.  The compaction shall be verified by a registered design professional.

Exception: Compacted fill material 12 inches (305 mm) in depth or less need not comply with a geotechnical report, provided the in-place dry density is not less than 90 percent of the maximum dry density at optimum moisture content determined in accordance with ASTM D 1557, and the compaction is verified by a registered design professional.

Modify Section R403.1 as follows:

R403.1 General. All exterior walls shall be supported on continuous solid or fully grouted masonry or concrete footings, crushed stone footings, wood foundations, or other approved structural systems which shall be of sufficient design to accommodate all loads according to Section R301 and to transmit the resulting loads to the soil within the limitations as determined from the character of the soil. Footings shall be supported on undisturbed natural soils or engineered fill. Concrete footing shall be designed and constructed in accordance with the provisions of Section R403 or in accordance with ACI 332.

Add new standard to Chapter 44 as follows:

CHAPTER 44

REFERENCED STANDARDS

ASTM

D 1557-07 - Test Method for Laboratory Compaction Characteristics of Soil Using Modified Effort [56,000 ft-lb/ft3 (2,700 KN m/m3)]

Reason:

This proposal adds provisions to the IRC to protect adjacent structures and property from the effects of site work.  Currently, there are no regulations in the IRC that would prevent an excavation for a foundation or footing from endangering adjacent buildings or property, nor is guidance given for fill material properties.  An extreme example of where this was a problem was the collapse of the Lotus Riverside apartment building in Shanghai in 2009.  There, the contractor stockpiled up to 10 meters of soil on one side of the building, while excavating on the other, leading to the building tipping over (see http://www.chinadaily.com.cn/china/2009-07/03/content_8376126.htm).  For IRC-type buildings, the failures would not be as dramatic, but can still become a headache for the building official.  This proposal is based on text found in IBC Section 3304, which would bring the two codes into closer alignment.  Specifically:

R401.5.1 – Requires excavations or fill not endanger (undercut or overhang) adjacent buildings or property.  It also clearly states that all site work (temporary or permanent) has to stay within the property lines—a principle that is understood by most people, but not stated anywhere in the I-codes.  This does not preclude other approved alternates, such as a temporary easement, from being employed to allow work to extend onto the adjacent property, since those can be approved under Section R104.11.  Finally, this section states that any footings or foundations that are undercut by an adjacent excavation must be underpinned or supported by other means.  If the affected foundation is on the adjacent property, the shoring or permanent foundation wall being constructed must be designed for the appropriate surcharge to support the adjacent foundation.  (See also proposed Section R401.5.3.)

R401.5.2 – Sets some practical limits on permanent cut or fill slopes.  A geotechnical report (usually by a geotechnical engineer) can set different parameters, but the text gives the building official the opportunity to review the report to see if the recommendations are based on an appropriate investigation.

R401.5.3 – Requires structures supporting surcharge loads to be designed for those loads.  Examples of sources of surcharge loads might be: a steep slope being supported by a retaining wall; vehicular loads from an adjacent right-of-way; foundation/footing loads from adjacent buildings; or fill placed next to an existing structure.  All these and other sources can impose additional loads on foundation or retaining walls (or even temporary shoring walls) that must be accounted for in a design.

R401.5.4 – Replaces a general requirement in IRC Section 403.1, and gives more guidance.  Requires structures be supported by natural soils or structural fill.  Structural fill properties must be determined in a geotechnical report.  Since special inspections are not included in the IRC but compaction must be verified, a registered design professional (again, usually a geotechnical engineer) is required to conduct the verification.  The exception gives an alternative to the full geotechnical report, allowing field verification of 90% compaction in accordance with the ASTM standard if the compaction is again verified by a registered design professional.

Chapter 44 – The standard has already been adopted into the IBC, so the addition in Chapter 44 just brings it into the IRC in order to provide appropriate guidance for the purposes of the exception..

# Code: IRC –12/13

Code Sections/Tables/Figures Proposed for Revision (3.3.2); Note:  If the proposal is for a new section, indicate (new).

R507.2.3

Proponent:  Name/Company/Representing (3.3.1): (NOTE:  DO NOT USE ACRONYMS FOR YOUR COMPANY OR ORGANIZATIONAL NAME)

Hoyt D Jeter/Eagle Eye Consulting Engineers/Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

Add new text in Sections R507.2. Deck lateral connections:

R507.2.3 Deck lateral load connection. The lateral load connection required by Section R507.1 shall be permitted to be in accordance with Figure R507.2.3. Where the lateral load connection is provided in accordance with Figure 507.2.3, hold-down tension devices shall be installed in not less than two locations per deck, within 24" of each end of the deck .Each device shall have an allowable stress design capacity of not less than 1500 pounds (6672 N).

Reason:

Currently the IRC does not specify where the hold-down connection devices must be placed. The purpose of this code change is to provide clear guidance as to where to locate the lateral load hold-down devices for decks.   To maximize the efficiency of the hold downs they should be placed as far apart as possible near the ends of the deck.  Deck joist framing typically is not spaced greater than 24" on center  so 24 " was selected as the upper limit to place these hold downs.

# Code: IRC –12/13

Code Sections/Tables/Figures Proposed for Revision (3.3.2); Note:  If the proposal is for a new section, indicate (new).

R507.2.3

Proponent:  Name/Company/Representing (3.3.1): (NOTE:  DO NOT USE ACRONYMS FOR YOUR COMPANY OR ORGANIZATIONAL NAME)

Hoyt Jeter Eagle Eye Consulting Engineers/Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

R507.2.3 Deck lateral load connection. The lateral load connection required by Section R507.1 shall be permitted to be in accordance with Figures R507.2.3(1) or R507.2.3(2). Where the lateral load connection is provided in accordance with Figure 507.2.3, hold-down tension devices shall be installed in not less than two locations per deck, and each device shall have an allowable stress design capacity of not less than 1500 pounds (6672 N). Where the lateral load connections is provided in accordance with Figure R507.2.3(2), the hold-down tension devices shall be installed in not less than 4 locations per deck, and each device shall have an allowable stress design capacity of not less than 750 pounds (3336 N).

New Figure R507.2.3 (2)

Figure R507.2.3 (2)

Reason:  This proposal provides an alternative prescriptive method  to achieve an acceptable lateral load connection for residential decks.  For new or replacement decks on existing homes, builders or homeowners must often remove interior sheet rock on ceilings in order to install  hold-down tension devices as required by Figure 507.2.3.  This proposal achieves an acceptable lateral load connection between the deck and primary structure by permitting the installation of surface mounted hold-down connection devices spread out along the length of the ledger and precludes the need to make expensive and unnecessary ceiling repairs.

Typical deck failures occur because joists separate from the joist-hangers which are fastened to the ledger.  This is due to the lack of an adequate tension connection between the joist and the hanger at this joint.  This proposal provides a better connection between at least 4 joists and the primary structure thereby reducing the potential failure of the joist to joist-hanger connection and better support form complete collapse of the deck and will reduce the chance of injury.

Cost Impact: The code change proposal will decrease the cost of construction.

# Code: IRC –12/13

Code Sections/Tables/Figures Proposed for Revision (3.3.2); Note:  If the proposal is for a new section, indicate (new).

R507.2.3

Proponent:  Name/Company/Representing (3.3.1): (NOTE:  DO NOT USE ACRONYMS FOR YOUR COMPANY OR ORGANIZATIONAL NAME)

Hoyt D Jeter/Eagle Eye Consulting Engineers/Washington Association of Building Officials Technical Code Development Committee

Revise as follows:

Add new exceptions in Sections R507.2. Deck lateral connections:

507.2.3 Deck Lateral Load Connections.

R507.2.3 Deck lateral load connection. The lateral load connection required by Section R507.1 shall be permitted to be in accordance with Figure R507.2.3. Where the lateral load connection is provided in accordance with Figure 507.2.3, hold-down tension devices shall be installed in not less than two locations per deck, and each device shall have an allowable stress design capacity of not less than 1500 pounds (6672 N).

Exception: Hold-down tension devices are not required for decks no more than 30 inches above grade at any point .

Reason:

The requirement to provide lateral load connections for attached decks was introduced into the code to insure that live loads (usually resulting from human activity on the deck) will not cause failure of the deck ledger connection thereby allowing the deck to pull-away from the primary structure.  Taken literally, all decks, even if they are 6” above grade, must be provided with lateral load connection devices (i.e.  hold-downs).  The exemption to install lateral load connection devices  for decks 30” or less above grade  was chosen because  that is the same height at which the code currently exempts guardrails.  The proposed exception does not exclude the requirement to adequately connect the deck ledger to the primary structure, as required elsewhere in the code.

Cost Impact: The code change proposal will decrease the cost of construction.

# Code: _IRC____ –12-14

Code Sections/Tables/Figures Proposed for Revision (3.3.2); Note:  If the proposal is for a new section, indicate (new).

G2415.6

Proponent:  Name/Company/Representing (3.3.1): (NOTE:  DO NOT USE ACRONYMS FOR YOUR COMPANY OR ORGANIZATIONAL NAME)

Name:			Dave Cantrell

Company:		Public Health – Seattle & King County

Representing:	Washington Association of Building Officials

Revise as follows:

G2415.6 (404.6) Underground penetrations prohibited. Gas piping shall not penetrate building foundation walls at any point below grade except as provided in Sections G2415.8.1 and G2415.14.1. Gas piping shall enter and exit a building at a point above grade and the annular space between the pipe and the wall shall be sealed.

Reason:

Sections G2415.8.1 and G2415.14.1 are long-standing provisions that, although rarely used are nonetheless acceptable methods for underground or in-floor installations within a structure whereby the piping can extend through the foundation to the exterior. Therefore, they are exceptions to the penetration restrictions of Section G2415.6 and should be referenced accordingly. This change will be proposed to the IFGC during the next Group A cycle and reference to IFGC Section 404.6 should be reinserted at that time.

Cost Impact:

This code change will not impact the cost of construction.